Gallium Ion Implantation into Niobium Thin Films Using a Focused-Ion Beam

Aaron M. Datesman, Thomas W. Cecil, Christine M. Lyons, Jonathan C. Schultz, and Arthur W. Lichtenberger

Abstract — We have implanted 30 kV gallium ions into niobium films 100 Å thick using a focused-ion beam (FIB).  The nature of the FIB tool allows the irradiation of only a specific, controllable, area of the substrate, from hundreds of square microns down to an arbitrary, user-defined pattern of one square micron or less.  A sacrificial layer of gold covering the niobium controls the range of the incident gallium ions and prevents the niobium film from sputtering away under bombardment.  This article examines this behavior phenomenologically, including information about the changes in transition temperature and resistance of the implanted samples.  Also a curious unexplained feature of the resistive transition at implant doses below about 3 x 1019 cm-3 will be presented and discussed.

Index Terms — Niobium, Thin Film, Ion Implantation, Focused-Ion Beam.

I. OVERVIEW

Ion implantation into niobium films has been a subject of interest for at least thirty years [1-4]. The dopants which have been investigated include argon, iron, nitrogen, and gadolinium, using implant energies between 20-150 keV.  Mechanisms for Tc suppression by implantation discussed in the referenced literature include lattice modification, the proximity effect, and the effects of magnetic impurities (Gd).

This work involves implantation of Ga into thin (100 Å) niobium films.  The properties of superconducting binary Nb-Ga alloys have been known for many years. [5,6]  It has also been shown that Ga doping of Nb3Sn conductors can have beneficial effects. [7]

Attempts to fabricate niobium diffusion-cooled hot-electron bolometers (HEBs) using a Ga+ focused-ion beam (FIB) [8] have motivated the present research.  Since in this instance the implantation of gallium into niobium is essentially a problem of contamination, the focus has been largely to understand and quantify the effects of the contamination.  Two factors, however, deserve special mention.

Firstly, the FIB is an extraordinarily flexible, controllable, and fine (with a spot size as small as 8 nm) tool which could be used to implant geometries not possible to create by any other method.  Secondly, a surprising feature of the resistive transitions of implanted samples lacks a simple explanation, and may be of interest to other researchers.

II. DECRIPTION OF THE EXPERIMENTAL TECHNIQUE

Films of 100 Å Nb covered by a layer of gold (100 or 300 Å) were deposited under zero-stress conditions under a single

Manuscript received October 3, 2004.  This work was supported under NSF grant #AST-0242525 and NASA grant #NAG5-9100.

The authors are with the University of Virginia Department of Electrical and Computer Engineering, Charlottesville, VA.  Arthur W. Lichtenberger may be contacted by e-mail at ArthurW@virginia.edu.

vacuum using DC magnetron sputtering and patterned using liftoff.  The samples were deposited on a quartz substrate and cleaned prior to deposition with an in-situ ion mill.  The base pressure of the sputtering chamber was in the mid-10-8 torr range.  The samples exhibited a resistance ratio R(300 K)/R(10 K) somewhat greater than two.

The actual sample structures for implantation and test consisted of two 3 mm x 1.5 mm pads, connecting in the middle at a bridge 10 m wide by 5 m long.  A negative lithography with a photoresist intended for implantation applications covered all of the areas of the samples except for an open window over that small bridge and the areas around it, so that only about one square of film about 15 m across was irradiated during the implantation experiments.  After implantation in the FIB, the photoresist was rinsed off with acetone; the gold layer was not removed at any time.

The FIB was used to implant gallium into the samples simply by focusing on the open window in the photoresist for a certain length of time.  The process is not very exact, especially for short exposures, due to the need to find and focus on the area to be exposed.  However, this problem will not be difficult to overcome in future work, especially if user-defined patterns of implantation are investigated.  Aside from the exposure time, the thickness of the sacrificial gold layer and the FIB beam current and magnification all served to control the dose implanted in the exposed section of film.  The energy of the implanted gallium ions was 30 kV.

III. THEORETICAL ANALYSIS USING SRIM

Fig. 1.  Distribution of implanted gallium, according to an SRIM simulation utilizing 105 ions in 2 Å bins.  The niobium layer is between 100 and 200 Å deep in this histogram.  Analysis of this data reveals that about 35% of the ion flux incident on the sample will stop in the Nb layer, although clearly its distribution within that layer is not uniform.

SRIM [9] was used to develop predictions regarding the distribution of gallium dopants within the Au/Nb/quartz structure.  The predicted range of 30 kV Ga ions in gold is 95 Å, with a 56 Å straggle.  The range increases to 109 Å in a 10 nm Au/10 nm Nb/quartz structure because of the greater range of the energetic gallium ions in niobium and quartz, as compared to gold.  Simply by counting the number of ions in the proper range of depths, one concludes that 35% of the ion flux incident upon this structure will be caught in the niobium layer.  In the experiments which are described below, this implies a Ga impurity concentration in the Nb film on the order of 1019 cm-3.

Figure 2 shows the calculated effects of changing the thickness of the sacrificial layer of gold.  The percentage of the ion flux captured within the niobium film decreases by about two orders of magnitude, to nearly zero, as the gold thickness increases from 100 to 300 Å.

Fig. 2.  Capture percentages of incident Ga flux within the 100 Å Nb layer depend strongly upon the thickness of the gold layer on top, according to simulations with SRIM using 105 ions.

IV. EXPERIMENTAL RESULTS

Figure 3 shows the results of the experiments outlined earlier on a 10 nm Au/10 nm Nb film on quartz.  The top two curves were implanted with a 13 pA beam current, with a magnification of 10,000x (corresponding to a field of view of 29 microns square), for periods of 60 and 30 seconds, respectively.  The third curve (with a dose of  27 x 1018 cm-3) was implanted at the same magnification, but with a 4 pA beam current for a time of 25 seconds.  The curve shown does not cover the entire transition of the sample in this one case, since the 10 K resistance of the sample is 20 , not the 17.5  shown at the end of the curve shown in the figureThe nature of the remainder of this transition is not known.  Finally, a sample which did not undergo implantation is included for reference.

Fig. 3.  Results of the implantation experiments.  The curve for the sample irradiated with a dose of 27 x 1018 cm-3 exhibits an odd feature: the portions of the sample which were not irradiated actually show an increase in Tc as a result of the implantation.

For the most part, the data presented are easy to interpret.  The portions of the samples in which gallium is implanted clearly seem to show a decrease in transition temperature and an increase in resistance, while other portions of the sample (the test pads) do not change, creating a transition in two steps.  The curve corresponding to a dose of 27 x 1018 cm-3, however, shows the transition temperature of the non-irradiated portion of the sample actually increasing as a result of implantation elsewhere on the sample.  This effect was first noticed on a different set of samples more than a year ago.  That set of samples was irradiated, with an 11 pA beam current and a magnification of 1200x, resulting in doses between 3 and 21 x 1018 cm-3.  The curves which resulted showed the same trends of decreasing Tc and increasing resistance, and every one showed that the step in the transition representing the non-irradiated portion of the sample had increased by about 0.15 K above the transition temperature of a non-irradiated reference sample.

Some preliminary experiments on 10 nm Nb/30 nm Au samples have also been undertaken, but without definitive results.  In one case, an implantation dose on the order of 1016 cm-3 seemed to simply shift the transition curve of a non-implanted sample upwards by about 0.05 K.  A likely explanation is that the FIB removed some of the gold covering the sample during implantation, reducing the proximity effect and thereby increasing its critical temperature.  An implantation experiment at 11 pA and 10,000x magnification, lasting for 2 minutes (corresponding to a dose of about 2 x 1018 cm-3), after which the gold is removed from the exposed area with a wet etch, should be revealing.

A summary of the gallium exposure results is given in Figure 4.

Fig. 4.  Summary of the gallium implantation experimental results, on 10 nm Au/10 nm Nb films.  The open squares detail the suppression of critical temperature with increasing dose; the closed circles, the increase in sample resistance.  Since the gold was not removed from the sample, it is not certain that the second effect is not at least in part due to removal of the gold by the FIB during implantation.

V. CONCLUSION

We have examined the decrease in transition temperature and (in part) increase in resistance which a 10 nm Nb film undergoes as a result of ion implantation with gallium using a focused-ion beam.  It is possible that a portion of the increase in resistance with dose documented here is a result of the removal of a portion of the sacrificial layer of gold by the FIB, although there is not visual evidence for that occurrence.  Future experiments in which the gold is removed with a wet etchant can resolve that question.

The possibility of using the user-programmable FIB to implant specific patterns over the surface of a niobium film, creating for instance a meandering pattern or a series of weak links, has been raised, though not examined.  Another interesting possibility, from the perspective of the work with HEBs which motivated this investigation, involves the possibility of the FIB trimming of devices, which would be especially interesting for applications where an array of devices has been fabricated and their uniformity is a principal concern.  For this application, implantation into a Nb thin film under a sacrificial layer of passivating Ge would be of interest, and that possibility has not been investigated.

Finally, the curious behavior of the non-irradiated portion of the sample at doses below 3 x 1019 cm-3 has been presented.  No explanation for this apparent increase in the transition temperature is offered at this time.

VI. REFERENCES

[1] P. Crozat and R. Adde, “Critical Temperature and Density of States in Ion Implanted Nb Films”, Physica 108B, pp. 1251-1252, 1981.

[2] C.H. Arrington III and B.S. Deaver Jr., “Superconducting Weak Links formed by ion implantation”, Applied Physics Letters, Vol. 26, No. 4, pp. 204-206, 1975.

[3] C. Camerlingo, P. Scardi, C. Tosello, and R. Vaglio, “Disorder effects in ion-implanted niobium thin films”, Physical Review B, Vol. 31, No. 5, pp. 3121-3123, 1985.

[4] P.D. Scholten and W.G. Moulton, “Effect of ion-implanted Gd on the superconducting properties of thin Nb films”, Physical Review B, Vol. 15, No. 3, pp. 1318-1323, 1977.

[5] J. Sosnowski, M. Drys, and J. Szymaszek, “Properties of Superconducting Nb-Ga Alloys with A15 Type Structure”, Phys. Stat. Sol. (a) 42, pp. K159-K164, 1977.

[6] S. Foner, E.J. McNiff, Jr., G.W. Webb, L.J. Vieland, R.E. Miller, and A. Wicklund, “Upper Critical Fields of NbxGa1-x: A Binary High Temperature Superconductor”, Physics Letters, Vol. 38A, No.5, pp. 323-324, 1972.

[7] M. Rudziak and T. Wong, “Development of a Nb3Sn Conductor Containing Ga and Mg Dopants”, IEEE Transactions on Applied Superconductivity, Vol. 11, No. 1, March 2001.

[8] A. Datesman, J. Schultz, A. Lichtenberger, D. Golish, C. Walker, and J. Kooi, “Fabrication and Characterization of Niobium Diffusion-Cooled Hot-Electron Bolometers on Silicon Nitride Membranes”, this proceedings.

[9] “The Stopping and Range of Ions in Matter”, www.srim.org.